## Slide 1: Ian Mambea Solomon
Low-cost Inertial Measurement Unit Calibration (IMU) with Shallow Neural Networks
Master Colloquium: 16.July.2024

## Slide 2: Contents
Introduction
IMU error model
IMU calibration techniques
Methodology
Results
Conclusion (and Future works)
Master Colloquium: 16.July.2024

## Slide 3: 1. Introduction(1)
What is an Inertial Measurement Unit (IMU)?
An electronic device that measures:
Angular rate
Force
Magnetic field
Xsens MTi-G-710-2A8G4
Z
X
(
)
6-axis IMU
Acceleromer
+
Gyroscope
)
(
9-axis IMU
Magnetometer
y
Master Colloquium: 16.July.2024
Notes: Accelerometers: linear acceleration (body specific force)
  Displacement calculation
  No account of turns to know the actual position
Gyroscopes: angular velocity
  Orientation calculation
Magnetometers: strength and direction of magnetic field

## Slide 4: 1. Introduction(2)
Why do we need IMUs?
Occlusions make the positioning from GNSS unreliable (unreachable) e.g.:
Underground tunnels
Dense building structures
For determining positioning using GNSS, at least four satellites must be reacheable and signal decorded.
One can’t know the body’s movement when there is a GNSS signal outage
Master Colloquium: 16.July.2024
Notes: At least 4 satellites: signals received and decoded
Without GNSS signal, linear journey is estimated

## Slide 5: 1. Introduction(3)
Why do we need IMUs?
GNSS + IMU = improved positioning
IMU will:
Use GNSS data as a reference point.
Use detailed motion of body
Improved accuracy and reliability
Enhance robustness
Algorithms used during post-processing of combined GNSS and IMU data to get accurate positioning.
Applications:
From Aerospace to wearable devices in hospitals
Master Colloquium: 16.July.2024
Notes: Combination: data is processed to reliable capture the vehicles’s journey
IMU: high frequency motion data
GNSS: high accuracy position data

## Slide 6: 1. Introduction(4)
Micro-Electro-Mechanical Systems (MEMS)
Advantages
Small size, low cost
Highly reliable – because of size and weight, perform better in vibration and impact conditions
Require low power consumption
Disadvantages
Affected by temperature changes
Output results need to be controlled and compensated
  Earth’s rotation can mask the gyroscope’s measurements
Xsens MTi-G-710-2A8G4
Master Colloquium: 16.July.2024

## Slide 7: 2. IMU error model(1)
Types of errors sources found:
  Deterministic errors (constant errors)
    Bias
    Scale Factors
    Misalignment
    Cross-coupling
  Stochastic errors (random based errors)
    Random Walk (White Noise)
    Bias Instability (Flicker Noise)
Idea is to compensate (calibrate) the sensors by reducing the deterministic errors using artificial neural networks (ANNs).
  ANN can model complex non-linear relationships
  learn intricate patterns and features from large datasets
Stochastic errors are difficult to compensate because:
  Randomness and Unpredictability
  Dynamic Environments
Master Colloquium: 16.July.2024
Notes: Bias: offset present in sensor output even when there is no input
SF: proportional deviation from true value
Misalignment: non- orthogonality of sensor axis
Cross-coupling: motion of one axis affects the readings in another
RW: random fluctuations in sensor’s output
BI: slow, random variations in the sensor bias over time. (1/f noise - power density decreases with increase freq. or offset from signal)

## Slide 8
Master Colloquium: 16.July.2024

## Slide 9
Ignoring
random errors
‘Error free’ sensor measurements
Focus is on Gyroscope compensation
2. IMU error model(2)
Master Colloquium: 16.July.2024

## Slide 10: 3. IMU Calibration Techniques(1)
IMU Compensation
Methods
Classical Methods
ANN
Master Colloquium: 16.July.2024

## Slide 11
IMU Compensation
Methods
Classical Methods
ANN
Six Position Static Test
Angle Rate Test
where:
K: known reference signal
Artificial reference signal of 1 rad/s is used:
Earth’s rotation rate is constant making it difficult to distinguish between true motion and Earth’s rotation
sensor measurement sensitive axis
3. IMU Calibration Techniques(2)
Master Colloquium: 16.July.2024

## Slide 12
IMU Compensation
Methods
Classical Methods
ANN
Series of simulation tests conducted
Employing different ANN techniques
  Long short term memory network
  Feed forward network
  Strapdown technique
Using Strapdown technique on compensating on real data
3. IMU Calibration Techniques(3)
Master Colloquium: 16.July.2024
Notes: simulation tests: algorithm development and testing, validation and verification, parameter tuning, performance evaluation, and education
LSTM:
used in sequential data
allows network to remember important details from earlier in the sequence.
FFN:
straighforward mechanism
input - output relationship without temporal dependancies

## Slide 13: 4. Methodolody(1)
Strapdown Technique
heading and gyrorates
gyrorates
Sum of Squared Errors
Backward loss
( dy )
Gyro angles & heading
Update loss
Gyrorates
NN with Strapdown Technique
Gyro
angles
Compare with heading and uncalibrated gyro angles
Pre-processing
𝜓0
𝜓0
Master Colloquium: 16.July.2024

## Slide 14: 4. Methodolody(2)
Gyro-rates: training data
  Collected at a fequency of 200 Hz
Heading (gyro-angle): target data
heading and gyrorates
Master Colloquium: 16.July.2024
Notes: Higher sampling rates provide more data points, leading to a finer resolution in the captured data.

## Slide 15: 4. Methodolody(3)
Normalization
  better condition the data to equally contribute to the training process
  NN can more effectively learn and generalize
heading and gyrorates
gyrorates
Sum of Squared Errors
Backward loss
( dy )
Gyro angles & heading
Update loss
Gyrorates
NN with Strapdown Technique
Gyro
angles
Compare with heading and uncalibrated gyro angles
Pre-processing
𝜓0
𝜓0
Master Colloquium: 16.July.2024

## Slide 16: 4. Methodolody(4)
Inside the network, where losses are computed (and minimized)
heading and gyrorates
gyrorates
Sum of Squared Errors
Backward loss
( dy )
Gyro angles & heading
Update loss
Gyrorates
NN with Strapdown Technique
Gyro
angles
Compare with heading and uncalibrated gyro angles
Pre-processing
𝜓0
𝜓0
Master Colloquium: 16.July.2024
Notes: Here, weights and biases of the neural network are updated
Weights: strength of connections between neurons
Biases: allow neural networks to fit more complex patterns in the data

## Slide 17: 4. Methodolody(5)
NN cannot integrate
  Only try to match the training data to the targets
gyrorates
Sum of Squared Errors
Backward loss
( dy )
Gyro angles & heading
Update loss
NN with Strapdown Technique
𝜓0
Master Colloquium: 16.July.2024

## Slide 18: 4. Methodolody(6)
gyrorates
Sum of Squared Errors
Backward loss
( dy )
Gyro angles & heading
Update loss
NN with Strapdown Technique
𝜓0
Coarse alignment: aligning the IMU's coordinate frame with respect to an external reference frame.
Loss function: how well a given machine learning model fits the specific data set.
Master Colloquium: 16.July.2024
Notes: Coarse alignment: determining an initial estimate of the system's orientation by aligning with the heading
Regression Layer: Model fitting (Goal is to minimize the loss: improving the accuracy of the model's predictions)
MaxEpochs: total no. of complete passes through the training dataset
MiniBatchSize: No. of samples per gradient update
Initial Learning rate: Sets the initial stepsize for parameter updates
Retraining: Allows further training of a pre-trained model

## Slide 19: 4. Methodolody(7)
gyrorates
Sum of Squared Errors
Backward loss
( dy )
Gyro angles & heading
Update loss
NN with Strapdown Technique
𝜓0
Backward loss:
  the process of calculating how much each parameter in the neural network contributed to the total loss
  to minimize the difference between its predictions and the actual targets
Master Colloquium: 16.July.2024
Notes: Backpropagation is the mechanism that allows neural networks to learn from data by adjusting their weights and biases to minimize the prediction error.
Done by computing the gradients of the loss with respect to the parameters of the network; the network learns to make more accurate predictions over time.

## Slide 20: 4. Methodolody(8)
Integrate again because output of the network is gyrorates
heading and gyrorates
gyrorates
Sum of Squared Errors
Backward loss
( dy )
Gyro angles & heading
Update loss
Gyrorates
NN with Strapdown Technique
Gyro
angles
Compare with heading and uncalibrated gyro angles
Pre-processing
𝜓0
𝜓0
Master Colloquium: 16.July.2024

## Slide 21: 4. Methodolody(9)
Coarse alignment: aligned predicted = predicted + psi0
heading and gyrorates
gyrorates
Sum of Squared Errors
Backward loss
( dy )
Gyro angles & heading
Update loss
Gyrorates
NN with Strapdown Technique
Gyro
angles
Compare with heading and uncalibrated gyro angles
Pre-processing
𝜓0
𝜓0
Master Colloquium: 16.July.2024
[Heading(1,1) – Predicted gyro angles (1,1)]

## Slide 22: 5. Results(1)
The network understood the characteristics of the data
Uncalibrated (plus coarse alignment): original noisy gyrorate signal that is integrated to get gyroangle
Predicted (plus coarse alignment): output from the NN after losses are minimized
Master Colloquium: 16.July.2024

## Slide 23: 5. Results(2)
Ignore the vertical lines which represent the transition points between the static rotation angles.
Predicted – Reference ≈ very small
Deviations represent presence of drift which is caused by random errors (white noise).
Master Colloquium: 16.July.2024

## Slide 24: 6. Conclusion and Future works (1)
Advantages:
  Adaptive learning with multivariate dependacies
  Reduce calibration time
Disadvantages
  Computational complexity (efficient algorithms and hardware)
  Generalization techniques
Master Colloquium: 16.July.2024
Notes: Adaptive Learning: NN adapt to new data and conditions (non-linear models), potentially improving their accuracy over time with retraining
Multivariate dependencies: NN can simultaneously consider multiple factors and their interactions. e.g. sensor biases
As compared to Classical, the time spent to calibrate is less
Generalization techniques: trial and error methods. e.g. activation functions (to introduce non-linearity in the model)

## Slide 25: 6. Conclusion and Future works (2)
Future works
  Attitude estimation: update the orientation of the vehicle or device
  Complimentary filtering with calibrated accelerometer data to improve the accuracy of the attitude estimation
  Sensor fusion with GNSS to correct for long-term drift in the IMU-based estimates
Master Colloquium: 16.July.2024
Notes: Filters like complementary filters or Kalman filters are commonly used to fuse these sensor inputs, leveraging the strengths of both sensor types.

## Slide 26: References
Solomon, I.M (2024). Low-cost Inertial Measurement Unit (imu) calibration with Shallow Neural Network, Technical University of Munich
What is IMU | A simple guide to Inertial Measurement Unit │IMU application for CAN networks https://www.youtube.com/watch?v=fG-JQlzQxWQ&ab_channel=InfluxBigData
Master Colloquium: 16.July.2024